COLUMBUS FIRE DEPARTMENT

1101 JACKSON STREET

COLUMBUS, INDIANA  47201

(812) 376-2679

(812)-376-2568- FAX

JAMES D. LIENHOOP, MAYOR		   		       ANDY LAY, FIRE CHIEF

FIRE & LIFE SAFETY PRE-INSPECTION CHECKLIST

Fire inspectors look at many items when conducting an inspection.  In regards to maintenance and safety, we have provided the following checklist so that you may have a better understanding of what to be mindful of at your place of business. Note: This list is only a general guideline for common violations that can be readily determined by the occupant.

EXITS

Door/aisle is not obstructed. Means of egress/pathway kept clear.

Exit door has proper lock/hardware. (No flush bolts, hasps, etc.)

Exit doors open easily.

Doors with double-keyed deadbolt must have signage stating “Door is to remain unlocked during business hours”.

Emergency lights & exit signs maintained in working order.

Doors with panic hardware have no other locking devices.

Maximum occupancy signage shall be posted in a conspicuous location near the main entrance for assembly occupancies.

FIRE PROTECTION EQUIPMENT & EXTINGUISHERS

Minimum 2A 10BC extinguisher(s) installed.

Extinguishers have been serviced within the past year and a new service tag is attached.

Extinguishers are securely mounted or in an approved cabinet.

Fire extinguisher in visible & easily accessible location and does not exceed 5 feet from floor when mounted.

Hood extinguishing system maintained with six month servicing and cleaning documented-record available to view.

Class K extinguisher installed 10-20 feet from hood and duct system.

Fire alarm system in proper working order- system tested annually- record of test available to view.

_Smoke detectors maintained in working order and replaced every ten years.

18 inches of clearance must be kept between sprinkler heads & storage.

Sprinkler system shall be maintained and tested annually-record of test available to view.

Standpipe shall have internal inspection every 5 years-record of test available to view.

APPLIANCE/MECHANICAL

No propane used/stored in building.

--Exhaust fans cleaned and free of dirt, dust, & debris.

All appliances are properly connected and vented.

_Dryer exhaust duct must be UL galvanized steel piping.

ELECTRICAL

No extension cords used as permanent wiring.

Outlets within 6ft of water supply and/or building exterior must be GFCI protected and maintained in working order.

Electrical panel & circuit breakers labeled and panel schedule updated.

No broken or faulty switch/outlets. No spliced or frayed cords/wires.

No exposed wire in conduit.

No missing/broken electrical cover plate(s).

Electrical panel is not overloaded or obstructed.

No multi-plug adapters. Only use UL approved power strips.

Open spaces in electrical panel covered with a filler plate.

Electrical cords do not extend under doors or floor coverings, through walls, ceilings or floors.

36 inches clearance maintained in front of electrical panels.

STORAGE/COMBUSTIBLE MATERIAL/HOUSEKEEPING

Flammable liquid properly stored.

Oil rags in non-combustible container with lid.

“No Smoking” signs installed as required.

No combustible material stored near ignition source.

Maintain clear and visible access to and around fire department connection.

No accumulation of combustible materials.

Compressed gas cylinders secured.

Area around building kept free of combustible materials.

No storage shall be kept in exit stairways.

Fire and smoke walls shall be maintained and have no other opening than those allowed by code.

MISCELLANEOUS

Fire lanes shall be approved by fire department.

Address numbers shall be posted in contrasting colors on the front and rear doors for commercial businesses and shall be 8 inches on the front door, and 4 inches on the back door.

Rapid entry key/Knox Box maintained by property owner.

Charcoal grills, propane grills or other open-flame cooking devices shall not be located on balconies or within 15 feet of combustible construction.

–Missing and/or broken ceiling tiles need to be replaced.

# Text boxes

HOME OF THE FIRST DIESEL

FIRE ENGINE

IN 1939